{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Лист1","index":0,"n_rows":21,"n_cols":12,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,1,0,9],[0,0,2,0],[0,11,2,11],[0,10,2,10]],"flags":["formulas_cached_only"]}
["Диаметр, \nмм","Расчётные площади поперечного сечения, см2, при шаге , мм\nколичество стержней на погонный метр",{"$nulls":8},"Масса, \nкг/м","Диаметр, \nмм"]
[null,1000,400,350,300,250,200,150,100,50]
[null,1,2.5,2.857142857142857,3.3333333333333335,4,5,6.666666666666667,10,20]
[3,0.07068583470577035,0.17671458676442586,0.20195952773077241,0.2356194490192345,0.2827433388230814,0.3534291735288517,0.471238898038469,0.7068583470577035,1.413716694115407,0.055488380244029724,3]
[4,0.12566370614359174,0.3141592653589793,0.3590391604102621,0.4188790204786391,0.5026548245743669,0.6283185307179586,0.8377580409572782,1.2566370614359172,2.5132741228718345,0.09864600932271951,4]
[5,0.19634954084936207,0.4908738521234052,0.5609986881410345,0.6544984694978736,0.7853981633974483,0.9817477042468103,1.3089969389957472,1.9634954084936207,3.9269908169872414,0.15413438956674924,5]
[6,0.2827433388230814,0.7068583470577035,0.8078381109230897,0.942477796076938,1.1309733552923256,1.413716694115407,1.884955592153876,2.827433388230814,5.654866776461628,0.2219535209761189,6]
[8,0.5026548245743669,1.2566370614359172,1.4361566416410485,1.6755160819145565,2.0106192982974678,2.5132741228718345,3.351032163829113,5.026548245743669,10.053096491487338,0.39458403729087804,8]
[10,0.7853981633974483,1.9634954084936207,2.243994752564138,2.6179938779914944,3.141592653589793,3.9269908169872414,5.235987755982989,7.853981633974483,15.707963267948966,0.616537558266997,10]
[12,1.1309733552923256,2.827433388230814,3.2313524436923586,3.769911184307752,4.523893421169302,5.654866776461628,7.539822368615504,11.309733552923255,22.61946710584651,0.8878140839044756,12]
[14,1.5393804002589986,3.8484510006474966,4.39822971502571,5.1312680008633285,6.157521601035994,7.696902001294993,10.262536001726657,15.393804002589986,30.787608005179973,1.208413614203314,14]
[16,2.0106192982974678,5.026548245743669,5.744626566564194,6.702064327658226,8.042477193189871,10.053096491487338,13.404128655316452,20.106192982974676,40.21238596594935,1.5783361491635122,16]
[18,2.5446900494077322,6.361725123519331,7.270542998307807,8.482300164692441,10.178760197630929,12.723450247038661,16.964600329384883,25.446900494077322,50.893800988154645,1.99758168878507,18]
[20,3.141592653589793,7.853981633974483,8.975979010256552,10.471975511965978,12.566370614359172,15.707963267948966,20.943951023931955,31.41592653589793,62.83185307179586,2.466150233067988,20]
[22,3.8013271108436495,9.503317777109125,10.860934602410428,12.671090369478833,15.205308443374598,19.00663555421825,25.342180738957666,38.0132711084365,76.026542216873,2.984041782012265,22]
[25,4.908738521234052,12.27184630308513,14.024967203525863,16.36246173744684,19.634954084936208,24.54369260617026,32.72492347489368,49.08738521234052,98.17477042468104,3.853359739168731,25]
[28,6.157521601035994,15.393804002589986,17.59291886010284,20.525072003453314,24.630086404143977,30.787608005179973,41.05014400690663,61.575216010359945,123.15043202071989,4.833654456813256,28]
[32,8.042477193189871,20.106192982974676,22.978506266256776,26.808257310632904,32.169908772759484,40.21238596594935,53.61651462126581,80.4247719318987,160.8495438637974,6.313344596654049,32]
[36,10.178760197630929,25.446900494077322,29.082171993231228,33.929200658769766,40.715040790523716,50.893800988154645,67.85840131753953,101.78760197630929,203.57520395261858,7.99032675514028,36]
[40,12.566370614359172,31.41592653589793,35.90391604102621,41.88790204786391,50.26548245743669,62.83185307179586,83.77580409572782,125.66370614359172,251.32741228718345,9.864600932271951,40]
["http://fordewind.org/"]